## Slide 1
PHOTOTHERAPY
Docent Dr. Igor Simanic
University of Kragujevac The Medical Faculty Integrated Academic Studies of Medicine Physical medicine and rehabilitation
Notes: <number>
<number>
<number>

## Slide 2
BASIC TERMS
PHOTOTHERAPY- the use of the light energy of the Sun or artificial sources of light
Light belongs to electromagnetic spectrum
It consists of the particles (photons)
The size (Е) of the light quantum depends on λ and :
q – light quantum (Е)
 – frequency
h – Planck’s constant=6,626 x 10-34 Js
c – speed of light travelling through a vacuum 300.000km/s
λ – wavelength
Notes: <number>
<number>

## Slide 3
EM SPECTRUM ACCORDING TO THE WAVELENGTH OF ACTIVE ЕМ RAYS
X
UV
ᵞ
IC
micro
radiowaves
Notes: <number>
<number>

## Slide 4
TYPES OF PHOTOTHERAPY
Heliotherapy – the use of natural sunlight
Chromotherapy- action of certain colors from the visible spectrum
Ultraviolet rays (UV rays)
Infrared rays (IR rays)
Laserotherapy (LASER - Light Amplification by Stimulated Emission of Radiation)
Notes: <number>
<number>

## Slide 5
HELIOTHERAPY
Notes: <number>
<number>

## Slide 6
HELIOTHERAPY
Sunlight contains:
  45-50% of IC,
  48% of visible light,
  1-3% of UV and
  2% of other rays
The effect of the Sun depends on:
  The season
  Part of the day (in the zenith its intensity is about 30 times stronger)
  Above-sea level
  Thickness of the air layer
  Cloudiness
  Air pollution (dust, smoke, soot, water steam, other particles)
Notes: <number>
<number>

## Slide 7
PHOTOSENSITIVITY
Local sensitivity: the skin of the chest, back, abdomen and flexor sides of the extremities
Individual sensitivity:
 gender
 physiological conditions  age (pregnancy, breast feeding)  pigmentation
 diseases (albinism, DM)  race
 use of photosensitizers  body region
Notes: <number>
<number>

## Slide 8
PHYSIOLOGICAL SUN EFFECTS
Improvement of immunobiological reaction of the organism
Analgesic
Improvement of the skin turgor
Increased exchange of gasses
Balance of the vegetative nervous system
Increase of the Hgb level and blood elements
Production of vitamin D
Normalization of Ca and P in the tissues etc.
Notes: <number>
<number>

## Slide 9
DOSING
Sunbathing scheme by Rollier
Maximum 3h
Side effects:
burns
keratoconjunctivitis
sunstroke
precancerous and cancerous lesions
D a y s
Minutes
Notes: <number>
<number>

## Slide 10
INDICATIONS FOR HELIOTHERAPY
Reconvalescence
Hypochromic anemia
Infections of the respiratory tract
Psoriasis; Acne vulgaris; Еczema
Tuberculosis of the bones, joints, skin (quiet forms)
Rachitis and osteomalacia; Osteoporosis
Degenerative rheumatic disease
Lesions of the peripheral motor neuron
Vegetative disorders etc.
Notes: <number>
<number>

## Slide 11
CONTRAINDICATIONS FOR HELIOTHERAPY
GENERAL
Active lung tuberculosis
Conditions after cerebrovascular insult
Photodermatosis
Notes: <number>
<number>

## Slide 12
CHROMOTHERAPY
Notes: <number>
<number>

## Slide 13
Chromotherapy
Notes: <number>
<number>
<number>

## Slide 14
Chromotherapy
COLD COLORS (blue, velvet and green) have a sedative effect:
  Blue color for color neutralization (icterus neonatorum); improves motor-coordinative processes;
  Velvet color slows the breathing rhythm, but deepens and increases ventilation capacity;
  Green color has a calming effect and improves anabolic processes.
Notes: <number>
<number>
<number>

## Slide 15
ULTRAVIOLET RAYS
Notes: <number>
<number>

## Slide 16
UV RAYS
Penetration 0,1-0,5 mm
280 - 315 nm
315 - 380 nm
13,6 - 280 nm
Х - RAYS
VISIBLE
RAYS
UV-B
UV-А
UV-C
Notes: <number>
<number>

## Slide 17
Transition of UV rays through atmosphere
UVC radiation is almost completely absorbed by the ozone layer and by atmosphere oxygen (О2)
UVB radiation is greatly absorbed by the ozone layer
UVA radiation reaches great amounts in the earth’s surface, because it is poorly absorbed by the ozone layer
Notes: <number>
<number>
<number>

## Slide 18
Sources of UV rays
Natural: Sunlight
Artificial:
  thermal- are not used in therapy
  luminiscent– quartz lamps with a mercury arc
Notes: <number>
<number>
<number>

## Slide 19
QUARTZ LAMP
Notes: <number>
<number>

## Slide 20
BIOLOGICAL AND PHYSIOLOGICAL EFFECTS OF UV RADIATION
Photochemical effect – provoking chemical reactions by change of the atomic arrangement and ratio in a molecule (provit. D  D; photosinthesis; free radicals are formed; enzymes are activated; release of biologically active material- histamine, acetylcholine etc.)
Photoelectric effect- change of the atomic balance by emission of the electrons (transition of colloids from the state of salt  gel; denaturation of proteins and inactivation of enzymes)
Fluorescence effect – capability of some substances to reemit the absorbed Е of UV radiation of one λ (365,5 Wood’s light) in all directions, but with higher λ; used for diagnostic purposes
Notes: <number>
<number>

## Slide 21
LOCAL EFFECTS OF UV RADIATION
Erythema– chemical; latent period 4-6h
Pigmentation
Stimulation of cell regeneration and epythelization (due to increase in the number of the cell divisions)
Bactericide and bacteriostatic effect
Notes: <number>
<number>
<number>

## Slide 22
REFLEXIVE REACTIONS OF UV RADIATION
They occur via cutivisceral reflex paths:
 secretion of gastric juice
 intestinal peristalsis
 elimination of water and electrolites through the kidney
 breathing
 blood pressure
analgesia
photophobia
Notes: <number>
<number>
<number>

## Slide 23
GENERAL EFFECTS OF UV RADIATION
Consequences of photochemical effect:
 metabolism
 number of Er and Hgb
 number of Le and immunity
Conversion of provitamin D  vitamin D3
Normalization of Ca and P
Normalization of glycemia, cholesterol
Stimulation of the function of the thyroid, adrenal and sexual glands
Notes: <number>
<number>

## Slide 24
THERAPEUTIC EFFECT OF UV RADIATION
Analgesic
Trophic
Improvement of regeneration (epithelization)
Notes: <number>
<number>

## Slide 25
INDIVIDUAL SENSITIVITY TO UV RADIATION
Sex
Age
Pigmentation
Race
Body region
Physiological conditions (menses, pregnancy)
Diseases (DM, albinism)
Use of photosensitizers
Notes: <number>
<number>

## Slide 26
PHOTOSENSITIZERS
Endogenous: bile colors, porphirin, thyroxin, gonadotropic hormones, adrenalin, insulin
Exogenous: heavy metal salts, penicillin, tetracyclines, sulphonamides, rivanol, eosin, gold salts etc.
Notes: <number>
<number>

## Slide 27
BIODOSIS
Measure of individual and regional sensitivity
BIODOSIS is the time interval [min] of radiation during which UV rays from a known source, from a certain distance, cause just perceptible erythema on the skin (minimal erythemal dose)
Biodosimeter:
  with 5 fields
  with 3 fields, by Prof. Rotovic and Prof.
  Milicevic
1
2
3
Notes: <number>
<number>

## Slide 28
DETERMINIATION OF BIODOSIS
Notes: <number>
<number>

## Slide 29
INTERPRETATION OF BIODOSIS
Degree of erythema
Exposure time in min
Biodosis in min
1
2
4
Mild
+
1
Severe
+
+
+
0,5
Mild
+
2
Severe
+
+
1,5
Mild
+
4
Severe
+
3,5
Notes: <number>
<number>

## Slide 30
UV DOSING
Suberythemal dose in children ⅛ of biodosis, in adults ¼, 1/3 or ½ of biodosis (just perceptible redness)
Erythemal dose 1-3 biodoses (erythema)
Hypererythemal 3-5 biodoses (intensive erythema, bullae); rarely applied (skin diseases with thickened epidermal stratum)
Notes: <number>
<number>

## Slide 31
UV DOSING
Suberythemal dose in children ⅛ of biodosis, in adults ¼, 1/3 or ½ of biodosis (just perceptible redness)
Erythemal dose 1-3 biodoses (erythema)
Hypererythemal 3-5 biodoses (intensive erythema, bullae); rarely applied (skin diseases with thickened epidermal stratum)
Notes: <number>
<number>

## Slide 32
INJURIES CAUSED BY UV RADIATION
Keratoconjunctivitis ("snow blindness") when looking directly at the source of radiation; wearing protective glasses
Burns – when radiation exposure is overdosed
Precancerous and cancerous skin lesions (important for cosmetology)
Notes: <number>
<number>

## Slide 33
Indications for GENERAL application
Reconvalescence
Anemia
Osteoporosis
Osteomalacia
Rachitis
Osteomyelitis
Notes: <number>
<number>

## Slide 34
Indications for LOCAL application
Skin diseases - alopecia, psoriasis...
Decubitus
Neurological diseases - neuralgia, neuritis, cervical Sy, lumbar Sy...
Rheumatological diseases – degenerative rheumatism, extraarticular rheumatism...
Orthopedics – conditions after bone fractures, soft-tissue injuries...
Gynecological diseases – adnexitis, dysmenorrhea...
Vascular surgery – vascular-based torpid wounds, ulcus cruris...
Ophthalmology - blepharitis, trachoma...
Notes: <number>
<number>

## Slide 35
CONTRAINDICATIONS
GENERAL
Active pulmonary tuberculosis
Hyperthyroidism
Diabetes
Psychiatric diseases
Advanced cachexia
Photogenic skin diseases - pellagra, lupus..
Moles
Malignant skin tumor
Roentgen dermatitis
Hypervitaminosis B1
Notes: <number>
<number>

## Slide 36
INFRARED RAYS
Notes: <number>
<number>

## Slide 37
INFRARED RAYS
Short IR rays 770 - 1500 nm
Long IR rays > 1500 nm
Penetration: 0,5-10 mm
1500 - 3000 nm
> 3000 nm
770 - 1500 nm
VISIBLE
LIGHT
MICROWAVES
IR-B
IR-C
IR-А
Notes: <number>
<number>

## Slide 38
SOURCES OF IR RADIATION
Natural source is sunlight.
Artificial sources:
  „Sollux" lamp
  Heater reflector (emission of long waves)
  Light baths (full, semi, partial)
Notes: <number>
<number>

## Slide 39
ARTIFICIAL SOURCES OF IR RADIATION
Notes: <number>
<number>

## Slide 40
PHYSIOLOGICAL EFFECT OF IR RADIATION
Е of the photon of IR ray  molecular excitation  HEAT  increase of the local tissue tº
Local reactions:
  erythema (without latent period, thermal, inhomogenous, unclearly demarcated, more intense along the capillaries, short-lasting, lost completely);
  pigmentation
Notes: <number>
<number>

## Slide 41
PHYSIOLOGICAL EFFECT OF IR RADIATION
Reflexive reactions:
  Vasodilation involving also deeper tissues (via cutivisceral Rf, via Head zones)
  Consensual reaction
General reaction of the organism:
   Btº
   sweating
   breathing
   heart rate
   ТА
Notes: <number>
<number>

## Slide 42
THERAPEUTIC EFFECT OF IR RADIATION
Analgesia
Antiedematous effect
Spasmolitic effect
Trophic (granulation)
Notes: <number>
<number>

## Slide 43
SYNERGISM AND ANTAGONISM OF IR AND UV RAYS
Synergism - IR rays applied simulateneously or before UV rays increase the effect of UV rays
Antagonism – IR rays applied after UV rays decrease the effect of UV rays
IR radiation from the lamp is the most efficient method of burn prevention, if UV radiation is overdosed (if used before the development of erythema!)
Notes: <number>
<number>

## Slide 44
APPLICATION TECHNIQUE AND DOSING
Independent (rarely) or introductory (more common) procedure
Epidermal defects are not a contraindication
The patient wears protective glasses (cataract)
Dosing according to subjective feeling
Exposure time 5-30 (20) min, series 10-15 days, pause 10 days
Notes: <number>
<number>

## Slide 45
APPLICATION TECHNIQUE AND
DOSING
DOSE radiation intensity x cos of the angle of incidence x
duration time distance from the source2
LOCAL: the source is at a smaller distance from the body
GENERAL: the source is at a greater distance from the body
Wrapping after the therapy (an independent procedure)
Notes: <number>
<number>

## Slide 46
INJURIES CAUSED BY IR EFFECT
Cataract – during long eye exposure to IR radiation; protective glasses, avoding looking directly at the source
Burns:
    Hypesthesis in neurological diseases
    Inadequate lamp handling (direct contact with the skin)
Notes: <number>
<number>

## Slide 47
INDICATIONS
Introduction to electrostimulation, stable galvanization, electroforesis, tractions, kryotherapy...
Lesions of the PMN, myalgia, neuralgia
Post-traumatic conditions of the soft tissues (after 48 h)
Degenerative and extra-articular rheumatism
Skin diseases (acne, furunculi, fungal diseases, herpes...)
Decubitus
Pain after a tooth extraction
Frontal and maxillary sinusitis
Notes: <number>
<number>

## Slide 48
CONTRAINDICATIONS
GENERAL
Acute skin and joint inflammation
Active tuberculosis
Occlusive arterial diseases
Skin anesthesia to thermal stimuli
Eczema, dermatitis...
Notes: <number>
<number>

## Slide 49
DIAGNOSTIC USE OF IR RADIATION
Thermography is photograph registration of the skin temperature - thermogram. It indicates the state of circulation in the epidermis — it depicts the condition of аrterial blood vessels and flow
Thermovision — provides distribution of surface body temperature in a short time
Notes: <number>
<number>

## Slide 50
DIAGNOSTIC USE OF IR RADIATION
Infrared photography:
  Short IR rays directed at the skin show the state of the venous system (arterial blood vessels are not seen)
  It is used for the diagnostics of the venous circulation in the mammary glands, circulation during gravidity and post-partum, venous circulation in portal hypertension...
Notes: <number>
<number>